安全工程概论题库

PS 红字为正确答案，黄字为曾经错选

Quiz1

Topic The fire problem

Reading:AB P1-9,P17-25

- The Commission believes that a reduction of _______ in deaths, injuries, and property losses is possible within the next generation.

  - 75%

  - 10%

  - 100%

  - 25%

  - 50%

- At the time of the America Burning report, approximately how many deaths were caused by fire?

  - 50000

  - 12000

  - 25000

  - 10000

  - 5000

- According to the America Burning report, what accounts for 20 to 30 percent of all service calls in large cities in the U.S.?

  - False alarms

  - Chemical processing

  - Arson

  - Lightening

  - Hot work

- When America Burning was published, what was the main recommendation that the Commission made to the U.S. Congress?

  - Standardization

  - Distribute fire loss equally throught the government

  - Establish a U.S. Fire Administration

  - Collect more data

  - Spend more money

- According to the America Burning report, which one of the following alternatives for the future was an official recommendation made by the Commission?

  - Hire people with college degree

  - Consolidation of police and frighters

  - Part volunteer, part paid firefrighters

  - Auxiliary firefighters

  - Women power

- When America Burning was published, about 5 cents of every dollar spent on the fire services is used to extinguish fires; only about 95 cents is spent on efforts-mostly fire prevention inspections and public education programs – to prevent fires from starting.

  - True

  - Flase

- According to the America Burning report, the best way to improve fire protection is more money.

  - True

  - False

- According to the America Burning report, there is an old saying in the fire protection field, to the effect that fire has three causes.  What are they?

  - Pets

  - Mother nature

  - Men

  - Women

  - Children

- When America Burning was published, what trends occurring in the U.S. were affecting effective response to fires?

  - Urbanization

  - Natural disasters

  - Increased cost

  - Population boom

  - Technological revolution

- Most large cities have  fire departments; many smaller communities are protected by  departments.

Quiz2

- Which is not a fire and life safety inspection category?

  - Issuance of a permit

  - Imminent hazard

  - Routine

  - Change in building ownership

- Which of the following categories of inspections is required when an existing structure is altered?

  - Response to a compliant

  - Change in occupancy

  - Issance of a permit

  - New construction

- Which of the following categories of inspections occurs when it becomes obvious that the occupancy poses a hazard to life and property?

  - Response to a compliant

  - Change in occupancy

  - Issuance of permit

  - Change in ownership

  - Imminent hazard

- The statement “a fire that does not occur is the one that is most easily controlled” accurately describes the ultimate goal of what?

  - Fire Department

  - Legislation

  - Compliance procedure

  - The public sector

  - Fire and life safety inspection programs

- Inspectors must follow procedures when conducting inspections and document all actions taken.  Put the following inspection actions in order of how they are generally enacted.

  - Written notification of infractions

  - Follow-up inspection

  - Sancation

  - Prosecution

- AHJ stands for what Authority Having Jurisdiction

- All levels of government have created fire inspection and code enforcement organizations with the authority to manage certain programs. It is their _______ to accomplish the goal of protecting lives and property from uncontrolled fires and other hazards.

  - Liability

  - Civil right

  - Duty

  - Authurity

  - Requirement

- ______________ is defined as commission of an unlawful act that is knowingly committed by a public official.

  - Malfeasance

  - None of the answers are correct

  - Nonfeasance

  - Public duty doctrine

  - Misfeasance

- Model fire codes grant the AHJ ___________ as often as necessary to perform an inspection or to execute any duties authorized by the fire code.

  - Right of entry

  - Authority

  - Search warrants

  - Liability

  - Duty

- An inspector is given the ___________ to perform his or her duties based on the laws adopted by the AHJ or regulations established by the private sector organization.

  - Authority

  - Search warrant

  - Duty

  - Obligation

  - Right of entry

Activity1

国际性机构组织的缩写以及目的，略

Quiz3

- Air consists of about ___ percent oxygen.

  - 100

  - 50

  - 21

  - 18

  - 25

- Which of the following is the transfer of heat within an object or to another object by direct contact?

  - Rollover

  - Conduction

  - Radiation

  - Convection

  - Incipient

- Which of the following is the transmission of energy as an electromagnetic wave without an intervening medium?

  - Incipient

  - Rollover

  - Radiation

  - Conduction

  - Convection

- Class B fires involve what types of fuels?

  - Flammable liquids

  - Animal fats

  - Wood and paper

  - Combustible metals

  - Energized electrical equipment

- Which of the following is a condition where the un-burned fire gases accumulated at the top of a compartment ignite and flames propagate through the hot-gas layer or across the ceiling?

  - Incipient

  - Flammable

  - Rollover

  - Flashover

  - Backdraft

- Which stage of fire occurs when all combustible materials in the compartment are burning?

  - Growth

  - Rollover

  - Incipient

  - Decay

  - Fully developed

- A flammable liquid has a has a flashpoint that is _BELOW__ a temperature of _100华氏度 .

- Exothermic reactions absorb energy as they occur.

  - True

  - False

- Water has a specific gravity of 1.0

  - True

  - Flase

- What are the four elements of the fire tetrahedron?

  - Chemical chain reaction

  - Conduction

  - Fuel

  - Heat/source of ignition

  - Air/oxygen

  - Convection

  - Vaporization

  - Pyrolisis

Quiz4

- Using ___________, building officials and code enforcement personnel can gain a reasonable expectation of the hazard level in a building.

  - Building permits

  - Occupancy classifications

  - Authority

  - Construction types

  - Fire load

- The International Code Council has how many general occupancy categories?

  - 9

  - 6

  - 10

  - 7

  - 8

- Fire Load____________ is used as a measure of the potential heat release of a fire within a compartment.

- Trusses typically use a _____________ configuration to provide stability and efficiently transfer the applied loads.

  - Triangular

  - Circular

  - Rectangular

  - Linear

  - Cylindrical

- Which type of wall will support the weight of a roof?

  - Load-bearing

  - Nonload-bearing

- Which is not a factor in determining the type of construction used in a building?

  - Building size

  - Presence of automatic sprinklers

  - Fire resistance of construction materials

  - Occupancy type

  - Building owner

- Which construction type is least likely to contribute to the spread of a fire?I

- What is the most common example of Type V construction?

  - School

  - Warehouse

  - Single-family house

  - Church

  - Retail store

Activity2

观看视频并且标注各个阶段的时刻

Avtivity3

看图并且识别建筑类型以及墙体结构

T15Type 3

T19Type 5

T2、4

Joist

header

Quiz 5

- Which is not one of the common factors that continues to be cited during investigations associated with means of egress systems?

  - Inaccessible exits

  - None of the answer is correct

  - Overcrowded occupancies

  - In properly designed or marked exits

- Name three basic elements of an egress system

  - Exit discharge

  - Exit access

  - Corridor

  - Door

  - Exit

  - Hallway

- Match the term with its definition.

  - Exit

  - Exit discharge

  - Exit access

  - Means of egress

  - Common path of travel

- A public way must have a clear width of _____feet and a clear height of _____feet

- The total number of people for which the means of egress of a building or portion thereof is designed is call the:

  - Occupancy max

  - Exit load

  - Occupancy classification

  - Building load

  - Occupant load

- Model codes permit escalators, elevators, or moving walkways to be considered as part of a means of egress in new occupancies regardless of design.

  - Ture

  - False

Quiz 6

- Connecting an object that conducts electricity to the soil with something that is a conductor is known as:

  - Arcing

  - Melding

  - Grounding

  - Bonding

  - Hot work

- Connecting two objects that conduct electricity with something that is also a conductor is known as:

  - Arcing

  - Melding

  - Grounding

  - Bonding

  - Hot work

- According to your textbook, which of the following are not physical hazards

  - Toxicity

  - Flammability

  - Reactivity

  - Oxidizer

  - Pyrophoric

  - Corrosives

- What are pyrophoric materials

  - Materials with the potential to self-heat when they come in contact with air

  - Liquids, solids, or gaseous materials that in small quantities and without external ignition sources can ignite within 5 minutes of coming into contact with air

  - Materials that may not be stored in locations or in a manner where they can become combustible or dangerous

  - Liquids, solids,or gaseous materials that are capable of causing a fire through friction or retained heat

- Safety cans are a maximum of5gallons in size

- Which of the following is a device that opens well below any pressure that would threaten the integrity of a tank?

  - Ventilation valve

  - Pressure-relief valve

  - Regulator

  - Frangible bulb

  - Safety vent

- SDS stands for:

  - Safety Data Sheet

  - Sheets for Data Safety

  - Safety Defined Standards

  - Supplier Data and Safety information

  - Safety Data Sources

  - Placard

  - Sign

  - ID

  - Label

  - Warning

Activity 4

Using NFPA 30 Flammable and Combustible Liquids Code, match the term with its definition.

- Class 1A Flammable Liquid

  - Class IA liquids — those liquids that have flash points below 73°F (22.8°C) and boiling points below 100°F (37.8°C)

- Class 1B Flammable Liquid

  - Class IB liquids — those liquids that have flash points below 73°F (22.8°C) and boiling points at or above 100°F (37.8°C)

- Class 1C Flammable Liquid

  - Class IC liquids — those liquids that have flash points at or above 73°F (22.8°C), but below 100°F(37.8°C).

- Class II Combustible Liquid

  - Class II Liquid — any liquid that has a flash point at or above 100°F (37.8°C) and below 140°F (60°C)

- Class IIIA Combustible Liquid

  - Class IIIA — any liquid that has a flash point at or above 140°F (60°C), but below 200°F (93°C)

- Class IIIB Combustible Liquid

  - Class IIIB — any liquid that has a flash point at or above 200°F (93°C).

Quiz 7

- Which classification is assigned to fires involving energized electrical equipment?

  - Class A

  - Class B

  - Class C

  - Class D

  - Class K

- What is the potential threat of clean-agent fire-extinguishing systems?

  - Chenmical burns

  - Smoke inhalation

  - Asphyxiation

  - Thermal burns

  - Dehydration

- Water are the best agent to extinguish fires involving__fuels

  - Class D

  - Class C

  - Class B

  - Class K

  - Class A

- Proper placement of fire extinguishers results in extinguishers that are

  - Away form normal path of travel

  - Near points of egress

  - Stored behind equipment

  - In closest to propect them

  - Discretely placed

- NPFA 10 recommends that fire extinghisher inspections be performed

  - Annually

  - Quarterly

  - Monthly

  - Biennially

  - Semiannually

- Wet chemical extinguish systems are most effective on fire involving what type of equipment

  - Class C

  - Commercial cooking

  - Oil and gas production

  - Retail gas pump

  - Class A fuels

- What is the name of the test used to check the integrity of fire extinguisher cylinders

  - Audit

  - Operational

  - Hydrostatic

  - Inspection

  - Maintenance

- Which standard governs portable fire extinguisher installation, inspection and maintenance requirements?

  - NFPA 13

  - NFPA 70

  - NFPA 10

  - NFPA 600

  - NFPA 72

- Dry chemical and dry powder extinguishing agents are essentially the same.

  - True

  - False

- Water can be used in class D fire

  - True

  - False

Activity5

Quiz 8

- Which is not a type of smoke detector?(select all that apply)

  - Rate compensation

  - Ionizing

  - Rate of rise

  - Photoelectric

  - Air-sampling

- Which is not a type of flame detector?(select all that apply)

  - UV

  - IR

  - Ionizing

  - Fire sprinkler

  - Rate of rise

- Which is not an example of notification device?

  - None of the answers are correct

  - Smoke detector

  - Bells

  - Speakers

  - Store lights

- The National Fire Alarm Code for the US isNFPA72

- Which alarm system is widely used in large commercial or industrial applications?

  - Central station

  - Protected premises

  - Proprietary

  - Remote station

  - Local

- Which alarm system sends an alarm signal directly to the fire department?

  - Proprietary system

  - Remote station

  - Central station

  - Local

  - Protected premises

- Which alarm system is widely used only to notify occupants on the premises?

  - Proteted premises

  - Public emergency alarm reporting

  - Proprietary system

  - Remote station

  - Central station

- Which is not an example of fire alarm initiating device

  - Strobe

  - Fire sprinkler system water flow sensor

  - Manual pull station

  - Smoke detector

  - Heat detector

- The name of the fire detector typically found in a house is a smoke detector.

  - True

  - False

- Photoelectric smoke detectors usually respond quicker to smoldering fires.

  - True

  - False

Quiz 9

- Which views are two-demisional views of a site and building as seen from directly above the area?

  - Detailed views

  - Floor Plans

  - Sectional views

  - Elevation views

  - Site Plan views

- Which views are vertical views of a building as if it were cut into two parts?

  - Plan views

  - Floor Plans

  - Sectional views

  - Detailed views

  - Elevation views

- Which views are two-demensional views of a building as seen from the exterior

  - Sectional views

  - Floor Plans

  - Elevation views

  - Detailed views

  - Plan views

- Which views are provided when it is necessary to show a feature in lager size than what is on a small-scale drawing in order to show specifics?

  - Sectional views

  - Detailed views

  - Elevation views

  - Floor Plan

  - Plan views

- Floor plans include all of the following EXCEPT:

  - Walls

  - Stairs if applicable

  - Sprinklers

  - Windows

  - Doors

- Before checking proposed building fire sprinkler systems, plans reviewers must first:

  - Classify the hazard by occupancy

  - Obtain manufacturer’s cut sheets

  - Calculate storage capacity

  - Determine occupant load

  - Obtain hydraulic calculations

- Which is not an example of supporting documentation for construction documemts

  - Sprinkler calculations

  - Hydraulic calculations of applicable

  - Safety Data Sheets

  - Cut sheets

  - As-built drawings

- Regarding submitted drawings for review, the determination of a building’s occupancy classification is the responsibility of the:

  - AHJ

  - Safety Professional

  - Inspector

  - Building owner

  - Architect

- After verifying occupant load of a space, the plans examiner needs to evaluate

  - Construction classification

  - Overall size of the building

  - Exit capacity

  - Occupancy classification

  - Meams of egress